## Slide 1: Recreational Swim Ponds
WACO Convention 2019

## Slide 2: Background
2005
Primary focus is working on public and private lakes and ponds
Increased focus on “recreational swimming” ponds
  Concept to completion involvement
  Wisconsin, Indiana, Kentucky, Illinois, Florida
    Planning phases New York, Michigan, Calilfornia

## Slide 3: Goal: Improve the camping experience
Past and current operations
Fun and Sun?
Review of regulations
Recommendations

## Slide 4: Change…
From this…

## Slide 5: Recreational Swim Ponds Today
To this…

## Slide 6: Seasonal Operation
Spring/Early Summer
                Inflatables
                Sand and Site Prep
                Basic Opening
Summer
                Full Operation
                Treatment Schedule
                Put out Fires
Early Fall
                Remove Inflatables
                Winterize
                Walk away and head south

## Slide 7: Fun and Sun
Highly Diverse Recreational Facility
Amenities for all Ages
Multiple Zones
  Shallow Sand Beach – zero entry
  Dry Beach – sandcastles
  Deep Zone – inflatables
  Secondary recreation – volleyball
Non-swim sessions – Ambiance
Increase user flow

## Slide 8: Regulatory review
Construction Permits
  WI DNR
  Army Corps of Engineers
  County
  Local zoning
Operational
  WI DNR
    NR107 and NR109 Aquatic Plant Management
Resources
  Wisconsin Beach Health
  Local Department of Health *does not include building code permits, sanitary, facilities, ect

## Slide 9: Best Management Practices
Consistency throughout the industry
Pro-active solutions
Safety awareness
Operator involvement
Understand water quality issues and how to address them
Designated maintenance schedule
Importance of education and disclosure

## Slide 10: 1) Monitor Change Over Time
“Wait, my pond didn’t look like this yesterday”
Usually – doesn’t change overnight
Monitor trends
Incorporate operator staff to perform routine tests

## Slide 11: Water Quality vs Algae Blooms

## Slide 12: Testing, monitoring, and data collection
$500-2500 capital investment

## Slide 13: Data log form

## Slide 14: 2) It’s all in the presentation…

## Slide 15: Jump in the water’s fine?

## Slide 16: Behind the Scenes Treatment Process

## Slide 17: Mechanical Sheds
$1600-$5000+ depending complexity

## Slide 18: “If you build it they will come”
Field of Dreams; Bible; or?
3) Unwanted Guests

## Slide 19: Leeches
One of most feared creatures on earth
Generally speaking completely harmless
Typically overwinter in muck at bottom of pond
Appear in various numbers
Most ponds – no issue

## Slide 20: Leeches Options
Panic application – Copper Sulfate
  Don’t kill your pond!
  Likely illegal rates and application
Working with DNR for improved treatment method
Largemouth bass

## Slide 21: Swimmer’s Itch

## Slide 22: Swimmer’s Itch Options
Positive ID
Break the cycle
  Waterfowl
    DON’T FEED
  Snails
    Games with the kids
Suntan Lotion
Rigorous drying with a towel
Bathing/showering
Remove the muck

## Slide 23: Out of site out of mind?
4)Pond Cleanout Plan

## Slide 24: Why Suck the muck?
Internal nutrient loading
Environment to host organisms
Stir the pot
Loss of water depth

## Slide 25: Pond Basin Cleaning Options
Off season – Spring or Fall?
Prepare a plan for your pond
  Pond size
  Bather load
  External influence (runoff)
  Discharge site
  Water source
  Frequency
  Labor

## Slide 27: Key Benefit's
Reduce high organic muck from pond
Perform maintenance
Inspection of facilities
Re-dress sand beach
Bring the pond back to like-new conditions

## Slide 28: Water Quality Management
Typical

## Slide 29: Water Quality Management
  Non-invasive green planktonic algae
  Harmless except to your eyes - aesthetics
  Feeding on excess nutrients
  Safety risk - clarity

## Slide 30: Water Quality Management
  Age of your pond
    1-3 years vs 4+ years
    Time to cleanout the pond?
  Bather load
    25-50/day/acre to 300+/day/acre
    7 days per week
    Happy medium? 1 bather/200 sq ft?
  External sources
    Runoff
    Waterfowl
    Fertilizers
    Environment – dilution factor
  Maintenance schedule
    Set schedule to a variable schedule
    Monitor trends better

## Slide 31: Water Quality Management
  Routine testing of the water
  Injecting vs application
  Early Season – pre swimming season
  Flocculants/Coagulants
  Ultrasound
  Managing Bather Load
  Re-application after rain events
  Cleanout schedule

## Slide 32: Moving forward
“Lake Like Experience” concept
Consult with local Health Department
Proper signage or posting
Information center
  SDS Sheets
  Pictures
  Action plan

## Slide 33: Moving forward
Safety concerns
  Life jacket use policy
  Designated swim zone
  Supervision
  Installing equipment provided by qualified suppliers
  Consulting with installation professionals - anchoring procedures